## Admin
Title | e.g, Set of Weights for Client
Operator | Greg |  | Date Opened
Client |  | The name of the client. Spaces will be removed. Files will be created with this name inside the save folder. | Client full address
Job Number |  | The J-number job code for the calibration | Project Number | 96240….
Save folder |  | The folder in which all data and analysis files are saved | Report Number | Mass/2021/0000
Description |  |  | Drift correction | auto select | Specify a drift option to use in the least squares analysis of each circular weighing. Allowed options: auto select, linear drift, quadratic drift, cubic drift
Identification |  |  | Use times? | NO | <!-- Specify whether to use the recorded times for each mass measurement in the least squares analysis of each circular weighing. Allowed options: YES or NO -->
Standards |  |  | Correlations |  | If relevant, include a matrix/list of correlations between standards (e.g. in build-up or build-down). Allowed options: None, or matrix of correlations
Reference | MET19A
Check | MET19B | The reference set used as checks in the weighing scheme. Use tags of sets as in the config.xml file, or None |  |  |  | path to config.xml file containing equipment parameters
Client weights | < can put link to history file here if desired > |  | Number of weights | 3 | (calculated automatically)
weight ID | Nominal mass /g | Distinguishing mark, form or identification* | Container ID | u_mag /ug | Density | u_density | * e.g. the symbol or diagram that would usually go in the report
100 | 100 | . | Plastic box
200a | 200 | . | ADW
200b | 200 | .. | CNG

## Scheme
Weight groups | Nominal mass (g) | Balance alias | # runs
100 100MA 100MB | 100 | AT106 | 5
1000 1KMA 1KMB | 1000 | AX10005 | 10
5000 5KMA 5KMB | 5000 | AX10005 | 10