## Admin
Title | 10 kg to 1 mg weight set
Operator | MCW |  | Date Opened
Client | 10 kg to 1 mg weight set | The name of the client. Spaces will be removed. Files will be created with this name inside the save folder. | Client full address
Job Number | Program Check | The J-number job code for the calibration | Project Number | 96240….
Save folder | tests | The folder in which all data and analysis files are saved | Report Number | Mass/2021/0000
Description |  |  | Drift correction | auto select | Specify a drift option to use in the least squares analysis of each circular weighing. Allowed options: auto select, linear drift, quadratic drift, cubic drift
Identification |  |  | Use times? | NO | <!-- Specify whether to use the recorded times for each mass measurement in the least squares analysis of each circular weighing. Allowed options: YES or NO -->
Standards |  |  | Correlations |  | If relevant, include a matrix/list of correlations between standards (e.g. in build-up or build-down). Allowed options: None, or matrix of correlations
Reference | MET14A
Check | MET14B | The reference set used as checks in the weighing scheme. Use tags of sets as in the config.xml file, or None |  | tests\samples\config_fmc.xml |  | path to config.xml file containing equipment parameters
Client weights | < can put link to history file here if desired > |  | Number of weights | 30 | (calculated automatically)
weight ID | Nominal mass /g | Distinguishing mark, form or identification* | Container ID | u_mag /ug | Density | u_density | * e.g. the symbol or diagram that would usually go in the report
10000 | 10000 |  | Plastic box
10000d | 10000 | . | ADW
5000 | 5000 |  | CNG
2000 | 2000
2000d | 2000 | .
1000 | 1000
500 | 500
200 | 200
200d | 200 | .
100 | 100
50 | 50
20 | 20
20d | 20 | .
10 | 10
5 | 5
2 | 2
2d | 2 | .
1 | 1
0.5 | 0.5
0.2 | 0.2
0.2d | 0.2 | .
0.1 | 0.1
0.05 | 0.05
0.02 | 0.02
0.02d | 0.02 | .
0.01 | 0.01
0.005 | 0.005
0.002 | 0.002
0.002d | 0.002 | .
0.001 | 0.001
.